| HA2307 HDMI industrial camera |
| --- |
| Main techincal parameters |  |
| image sensor 14 megapixel Panasonic sensor 1/2.3 inch Effective pixel 14 megapixel Pixel size 1.43 x 1.43um Frame rate 30fps Definition FULL HD Housing metal Lens CS for test, custom provide White balance Auto/manual Digital magnification 5 times digital zoom Brightness control Auto/manual Color R/G/B adjustable Freeze Support OSD Support Film and record Support Cross cursor Support multi-color, size adjustable Transverse and vertical line SNR Support multi-color, 4 pcs of transverse lines/vertical lines, moveable TF card interface Max 32G (TF Crad) HDMI interface Standard HDMI output (Type A) Lens C USB interface Standard usb2.0 interface (Type B) |

Download HA-2307 User's Manual URL:  http://www.hayear.com/